## Preschedule
25-Jan-02
	x	x	x	x	x	x	x	x	x	x	x	x	x	x	x	x	x	x	x	x	x	x	x	x
	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16	17	18	19	20	21	22	23	24
LOAD (Incl,RGC,CFE)	629	632	615	628	640	674	793	834	829	834	829	822	806	780	782	745	738	782	843	834	831	804	732	690
TNP	50	50	50	55	55	60	70	75	75	75	75	75	75	75	70	70	70	75	75	75	75	70	65	60
Purchases
Incremental Purchases					0
4C Prescheduled	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
4C Balancing
4C Real-time	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
PV Prescheduled	0	0	0	0	0	0	0	-75	-75	-75	-75	-75	-75	-75	-75	-75	-75	-75	-75	-75	-75	-75	-75	0
PV Balancing
PV Direct Bill
PV Real-time	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
Hidalgo Prescheduled	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
Hidalgo Real-time	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0		0	0	0
Artesia Direct Bill	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
Artesia Prescheduled	0	-100	-100	-100	-100	-100	-130	-80	-80	-80	-80	-80	-80	-80	-80	-80	-80	-133	-133	-133	-133	-80	-80	-100
Artesia Balancing
Artesia Real-time
Sales
IID (150 MW)	59	84	75	75	75	75	84	108	108	108	108	108	108	108	108	108	100	100	108	108	108	100	100	84
PNM (56 MW)	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
Incremental Sales
4C PRESCHEDULED	25	25	25	25	25	25	25	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	25
4C BALANCING	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
4C Direct Bill	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
4C REAL-TIME	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
PV PRESCHEDULED	0	100	100	100	100	100	100	50	50	50	50	50	50	50	50	50	50	50	50	50	50	50	50	100
PV BALANCING	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
PV Direct Bill	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
PV REAL-TIME	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
Hidalgo Prescheduled	0	0		0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
Hidalgo Real-time	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
Artesia Prescheduled	0	0	0	0	0	0	0	0		0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
Artesia Balancing	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
Artesia Real-time					0	0	0	0	0	0	0	0	0	0	0	0	0	0
Total Obligations	763	891	865	883	895	934	1072	1097	1092	1097	1092	1085	1069	1043	1040	1003	988	1037	1106	1097	1094	1054	977	959
GENERATION
					Capacity	MMBtu/Day
NEWMAN 1 (30-70)	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	80	#NAME?
NEWMAN 2 (25-78)	34	39	34	35	36	40	70	34	34	34	34	34	34	34	34	36	35	63	61	35	35	35	35	35	78	#NAME?
NEWMAN 3 (31-103)	68	58	38	59	74	98	100	47	38	39	38	38	38	38	38	38	38	38	38	38	38	38	38	38	103	#NAME?
GT 1	20	20	20	20	20	20	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	40	#NAME?
GT 2	20	20	20	20	20	20	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	40	#NAME?
GT1+ST	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	108	#NAME?
GT2+ST	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	108	#NAME?
NEWMAN 4 (115-190)	0	0	0	0	0	0	135	215	212	215	209	205	185	161	152	120	105	115	147	158	152	167	101	130	212	#NAME?
COPPER	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	68	#NAME?
RIO GRANDE 6 (20-48)	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	48	#NAME?
RIO GRANDE 7 (14-44)	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	44	#NAME?
RIO GRANDE 8 (65-130)	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	130	#NAME?
PV UNIT 1	201	201	202	201	201	201	202	201	202	201	201	201	201	201	201	201	201	201	201	201	201	201	201	201	198
PV UNIT 2	201	201	202	201	201	201	202	201	202	201	201	201	201	201	201	201	201	201	201	201	201	201	201	201	198
PV UNIT 3	201	201	202	201	201	201	202	201	202	201	201	201	201	201	201	201	201	202	201	201	201	201	201	201	198
4 CORNERS UNIT 4	52	52	51	52	52	52	52	52	52	52	52	52	52	52	52	52	52	2	52	53	53	52	52	52	52
4 CORNERS UNIT 5					0					52
Position	34	1	4	6	10	-1	21	9	5	1	-1	2	-2	0	-6	1	0	-7	3	-2	-5	-4	7	-1	2416	#NAME?
0	797	892	869	889	905	933	1093	1106	1097	1098	1091	1087	1067	1043	1034	1004	988	1030	1109	1095	1089	1050	984	958	#NAME?	#N/A
Imports
Artesia 134	0	100	100	100	100	100	130	80	80	80	80	80	80	80	80	80	80	133	133	133	133	80	80	100	Total Costs:	#N/A
Palo Verde 510	544	419	431	428	428	428	422	520	523	520	520	520	520	520	520	520	528	529	520	520	520	528	528	419
Four Corners 124	27	27	26	27	27	27	27	22	22	22	22	-30	22	22	22	22	22	-28	22	23	23	22	22	27
Total NM 645	571	446	457	455	455	455	449	542	545	542	542	490	542	542	542	542	550	501	542	543	543	550	550	446
Total	571	546	557	555	555	555	579	622	625	622	622	570	622	622	622	622	630	634	675	676	676	630	630	546

Unloaded Generation	110	115	137	118	102	74	76	88	97	96	103	107	179	151	160	190	206	167	138	153	159	144	210	181

Spin Reserves 7%	44	44	43	44	45	47	58	58	58	58	58	56	55	55	52	52	55	59	58	58	56	51	48	#REF!

	Hourly On-Peak	Hourly Off-Peak	1 Day On-Peak	1 Day Off-Peak	BOM On-Peak	BOM Off-Peak
Greenley
PV
4 Corners
SPS interface

Prescheduled Sales	84	209	200	200	200	200	209	188	188	188	188	188	188	188	188	188	180	180	188	188	188	180	180	209
W. Ave. Sale Price	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!
Prescheduled Purch.	0	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!
W. Ave. Purch. Price	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!
	MW	W.Ave $
Total Sales	4487	#REF!
Total Purchases	#REF!	#REF!

					Actual:	#NAME?
					Test:	#NAME?
Scratch Area					Difference:	#NAME?
4 Corners Unit 4	52	52	51	52	52	52	52	52	52	52	52	0	52	52	52	52	52	2	52	53	53	52	52	52	$14,997
Test:	103	52	2	2	2	2	52	52	52	52	103	103	103	103	103	103	103	103	103	103	52	52	52	52	$21,037
Difference:	51	0	(49)	(50)	(50)	(50)	0	0	0	0	51	103	51	51	51	51	51	101	51	50	(1)	0	0	0	$(6,041)
4 Corners Unit 5	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	$-
Test:	50					$654
Difference:	50	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	$(654)
PV Unit 1	201	201	202	201	201	201	202	201	202	201	201	201	201	201	201	201	201	201	201	201	201	201	201	201	$29,425
Test:	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	$29,261
Difference:	(1)	(1)	(2)	(1)	(1)	(1)	(2)	(1)	(2)	(1)	(1)	(1)	(1)	(1)	(1)	(1)	(1)	(1)	(1)	(1)	(1)	(1)	(1)	(1)	$165
PV Unit 2	201	201	202	201	201	201	202	201	202	201	201	201	201	201	201	201	201	201	201	201	201	201	201	201	$29,425
Test:	194	194	194	194	195	195	195	195	195	195	195	195	195	195	195	195	195	195	195	195	195	195	195	195	$28,505
Difference:	(7)	(7)	(8)	(7)	(6)	(6)	(7)	(6)	(7)	(6)	(6)	(6)	(6)	(6)	(6)	(6)	(6)	(6)	(6)	(6)	(6)	(6)	(6)	(6)	$920
PV Unit 3	201	201	202	201	201	201	202	201	202	201	201	201	201	201	201	201	201	202	201	201	201	201	201	201	$29,431
Test:	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	200	$29,261
Difference:	(1)	(1)	(2)	(1)	(1)	(1)	(2)	(1)	(2)	(1)	(1)	(1)	(1)	(1)	(1)	(1)	(1)	(2)	(1)	(1)	(1)	(1)	(1)	(1)	$171
Newman 1	31	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	34	34	34	34	0	0	0	167	40 MW Max
Fuel Cost: 1.96	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
(30-70) Test:	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	720	.
	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
Newman 2	34	39	34	35	36	40	70	34	34	34	34	34	34	34	34	36	35	63	61	35	35	35	35	35	930	50 MW Max
Fuel Cost: 1.96	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
(25-78) Test:	31	31	31	31	31	31	31	31	31	31	31	31	31	31	31	31	31	31	31	31	31	31	31	31	744
	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
Newman 3	68	58	38	59	74	98	100	47	38	39	38	38	38	38	38	38	38	38	38	38	38	38	38	38	1,151	66 MW Max
Fuel Cost: 1.96	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
(31-103) Test:					0
	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
GT 1	20	20	20	20	20	20	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	120	70 MW Max
Fuel Cost: 1.96	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
Test:	20	20	20	20	20	20	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	120
	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
GT 2	20	20	20	20	20	20	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	120	70 MW Max
Fuel Cost: 1.96	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
Test:	20	20	20	20	20	20	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	120
	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
GT1+ST1	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	70 MW Max
Fuel Cost: 1.96	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
(48-XX) Test:					0
	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
GT2+ST1	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	70 MW Max
Fuel Cost: 1.96	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
Test:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
	#NAME?	#NAME?		#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
Newman 4	0	0	0	0	0	0	135	215	212	215	209	205	185	161	152	120	105	115	147	158	152	167	101	130	2,884	70 MW Max
Fuel Cost: 1.96	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
(115-190) Test:	115	115	135	135	135	135	130	115	115	115	115	115	115	115	115	115	115	115	185	185	170	165	145	145	3,160
	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
Copper	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	50 MW Max
Fuel Cost: 1.96	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
(XX-XX) Test:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0				0	0	0
	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
Rio Grande 6	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	20 MW Max
Fuel Cost: 2.09	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
(20-48) Test:					0
	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
Rio Grande 7	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	20 MW Max
Fuel Cost: 2.09	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
(14-44) Test:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
Rio Grande 8	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	20 MW Max
Fuel Cost: 2.09	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	Spin Res
(65-130) Test:	56	56	56	56	65	75	56	56	56	56	56	56	56	56	56	56	56	56	85	110	90	65	56	56	1,498
	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?	#NAME?
Difference:	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	#NAME?
Total Actual MW	828	792	769	789	805	833	963	951	942	943	936	880	912	888	879	849	833	856	935	921	915	895	829	858
Total Test MW	1019	918	888	888	898	908	894	879	879	879	930	930	930	930	930	930	930	930	1029	1054	968	938	909	909		#NAME?
Total MW-Test MW.	191	126	119	99	93	75	-69	-72	-63	-64	-6	50	18	42	51	81	97	74	94	133	53	43	80	51	1296
Net Position after sales (taken from row 53)	34	1	4	6	10	-1	21	9	5	1	-1	2	-2	0	-6	1	0	-7	3	-2	-5	-4	7	-1	75
Excess Generation	225	127	123	105	103	74	-48	-63	-58	-63	-7	52	16	42	45	82	97	67	97	131	48	39	87	50	1371
					1371	gen. net
SPINNING RESERVES MUST BE AL LEAST 101 MW
Actual Spinning Res.	232	198	221	201	185	157	112	124	133	132	139	92	163	187	196	221	222	279	210	224	230	180	222	217
Test Spinning Res.	149	200	230	230	229	229	224	229	229	229	178	178	178	178	178	178	178	178	118	118	184	189	209	209
IID+CFE+PNM	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!	#REF!

	Recommendations for 2/16 include:					Total Savings for 2/16			#NAME?
	1. Turn off RG6& RG7					Two-way cycling cost $786			$524	(spread over 3 days)
	2. Meet load requirements with N4, FC and RG8
	3. Keep N1 and N2 at minimum all day, ramp up as needed
	4. Keep sales between 50 and100 MW, and keep units ramped down to avoid selling power at a loss
	5. Given this scenario, EPE will still generate an excess of 427 MW for the 24 hour period
	EPE's Response:
	RG 7 down
	Overgenerated by large margin

## Deals
Counter Party	Type	Delivery Point	Price		1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16	17	18	19	20	21	22	23	24	Total Volume	Total Billing	Position
IID	FirmT	PV			59	84	75	75	75	75	84	108	108	108	108	108	108	108	108	108	100	100	108	108	108	100	100	84	2307	0.00	sell	120	0	0	140	0	0	150	0	0	150	0	0	150	0	0	150	0	0	150	0	0	150	0	0	150	0	0	150	0	0	150	0	0	130	0	0	110	0	0	90	0	0
TNP	FirmT				50	50	50	55	55	60	70	75	75	75	75	75	75	75	70	70	70	75	75	75	75	70	65	60	1620	0.00	sell
PNM					0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0.00	sell

SPS		Eddy				-100	-100	-100	-100	-100	-130	-80	-80	-80	-80	-80	-80	-80	-80	-80	-80	-133	-133	-133	-133	-80	-80	-100
																													0	0.00	sell
																													0	0.00	sell
																													0
																													0	0.00	sell
																													0	0.00	sell
																													0
LIST ALL SALES BELOW
leave this row blank
PRESCHEDULED SALES
CALPX	Pre	PV	-		0			-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
CALPX	Pre	PV	-					-																					0	0.00	sell
																													0	0.00
CALPX	Pre	4C	-		0			-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
CALPX	Pre	4C	-					-																					0	0.00	sell
																													0	0.00	sell
																													0	0.00	sell
ISO	Pre	PV				25	25	25	25	25	25																	25	175	0.00	sell
ISO	Pre	PV				25	25	25	25	25	25																	25	175	0.00	sell
ISO	Pre	PV				25	25	25	25	25	25																	25	175	0.00	sell
SRP	Pre	PV				25	25	25	25	25	25																	25	175	0.00	sell
APS	Pre	4C	$22.25		25	25	25	25	25	25	25																	25	200	4450.00	sell
PNM	Pre	4C										30	30	30	30	30	30	30	30	30	30	30	30	30	30	30	30		480	0.00	sell
SPS/bookout	Pre	PV										50	50	50	50	50	50	50	50	50	50	50	50	50	50	50	50		800	0.00	sell
																													0	0.00	sell
REALTIME SALES
																													0	0.00	sell
																													0	0.00	sell
PRESCHEDULED PURCHASES
EPMI/bookout	Pre	PV	$121.00									-50	-50	-50	-50	-50	-50	-50	-50	-50	-50	-50	-50	-50	-50	-50	-50		-800	-96800.00	buy
Mirant	Pre	PV	$141.40									-25	-25	-25	-25	-25	-25	-25	-25	-25	-25	-25	-25	-25	-25	-25	-25		-400	-56560.00	buy
REALTIME PURCHASES
																													0	0.00
																													0	0.00
ANCILLARIES
																													0	0.00	sell
																													0	0.00	sell
																													0	0.00	sell
																													0	0.00	sell
leave this row blank

Dispatch Note(Copy and Paste from Lotus Notes)
Steamer is scheduled HE 7- HE 22 and SPS 53 MW purchase is coming across / HE 18-21. Call if you have any questions.

																									Total per Model

																									EPE Sales to EPMI				0.00	0.00
																									EPE Purch from EPMI				-1200.00	-153360.00

																									Total Ancillary Services Purchases per Model

																									EPE Purch from EPMI				-	-

Unit or Line Derates/Outages

## Fuel
		MUST be updated DAILY
		MAY be updated DAILY
		MUST be updated MONTHLY

SAN JUAN				WAHA
Interstate Spot Price		1.455		Intrastate Spot Price		1.515
Interstate Fixed Price (RG)		2.090		Intrastate Fixed Price		1.960
Interstate Fixed Price (NM)		2.090

Units Using Interstate Gas Prices					Weighted	Cost of
		% Fixed	% Spot	MMBtus	Avg. Price	Gas Burn
	Rio Grande 8	100%	0%	#NAME?	2.090	#NAME?
	Rio Grande 7	100%	0%	#NAME?	2.090	#NAME?
	Rio Grande 6	100%	0%	#NAME?	2.090	#NAME?
	Total			#NAME?		#NAME?

Units Using Intrastate Gas Prices
	Copper	100%	0%	#NAME?	1.960	#NAME?

							Interstate Cheaper than Intrastate? yes = 1, no = -
Units Using Either Interstate or Intrastate Gas Prices							Fixed	Spot
	Newman 4	100%	0%	#NAME?	1.960	#NAME?		-	1.00
	GT1+ST1	100%	0%	#NAME?	1.960	#NAME?
	GT2+ST1	100%	0%	#NAME?	1.960	#NAME?
	Newman 3	100%	0%	#NAME?	1.960	#NAME?
	Newman 2	100%	0%	#NAME?	1.960	#NAME?
	Newman 1	100%	0%	#NAME?	1.960	#NAME?
	GT 1	100%	0%	#NAME?	1.960	#NAME?
	GT 2	100%	0%	#NAME?	1.960	#NAME?
				#NAME?		#NAME?

	Total			#NAME?		#NAME?

ANALYSIS OF CURRENT MONTH WEIGHTED AVERAGE PRICES
February
INTERSTATE
Supplier		Base Price		Volume		Rio Grande	Newman		Total Dollars Rio Grande	Total Dollars Newman
USGT	SJ Inside FERC FOM	2.090		15,000		-	15,000		-	940,500
Duke	1/1-12/31/98 price not given (SJ)	2.090		10,000		10,000	-		627,000	-
Cook	4/1-11/30/98 Fixed or FOM Float (SJ)	2.090		15,050		15,050	-		943,635	-
PNM	4/1-11/30/98 Fixed or FOM Float (SJ)	2.090		10,000		10,000	-		627,000	-
KN	1/1/97-12/31/01 NGI Bid Week Index (Waha)	1.960		56,100		-	56,100		-	3,298,680
Spot Purchases	?			-		-	-		-	-
						35,050	71,100		2,197,635	4,239,180
							W.A. Base Price	2.239285714	2.129
							Gross Receipts Tax		5%	0%
							Fuel Charge		2.20%	2.20%
							Surcharges		$0.0134	$0.0134
							Variable Price		$2.090	$1.960
							$2.142
INTRASTATE

KN Marketing		W.A. Base Price		$2.10
		Gross Receipts Tax		2.50%
		Variable Price		$2.153

## Comp
1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16	17	18	19	20	21	22	23	24
Actual
610	588	577	568	564	580	602	617	645	665	679	679	677	670	661	654	662	720	778	771	768	741	689	629
Dispatch
612	591	580	562	561	571	610	599	622	658	639	667	642	655	642	642	671	755

## Economics
	Commodity Revenue (Cost)	Demand Charge	Total	Total Volume	$/Mwhr Commodity Cost	$/Mwhr Total Cost
Purchases
SPS Avg. Cost Est.	503,175.60	123,970.80	627,146.40	24,308	20.00	0.00
Incremental Purchases
4C Pre	0.00		0.00	0	0.00	0.00
4C Balancing	0.00		0.00	0	0.00	0.00
4C Realtime	0.00		0.00	0	0.00	0.00
PV Pre	#N/A		#N/A	-1,200	#N/A	#N/A
PV Balancing	0.00		0.00	0	0.00	0.00
PV Realtime	0.00		0.00	0	0.00	0.00
SPS Pre	0.00		0.00	-2,222	0.00	0.00
Artesia Balancing	0.00		0.00	0	0.00	0.00
Artesia Realtime	0.00		0.00	0	0.00	0.00

Sales
Incremental Sales
4C Pre	#N/A		#N/A	680	#N/A	#N/A
4C Balancing	0.00		0.00	0	0.00	0.00
4C Realtime	0.00		0.00	0	0.00	0.00
PV Pre	#N/A		#N/A	1,500	#N/A	#N/A
PV Balancing	0.00		0.00	0	0.00	0.00
PV Realtime	0.00		0.00	0	0.00	0.00
Artesia Pre	0.00		0.00	0	0.00	0.00
Artesia Balancing	0.00		0.00	0	0.00	0.00
Artesia Realtime	0.00		0.00	0	0.00	0.00
							Heat	Fuel
Generation							Rate	Cost
4 Corners Unit 4	-15,676.78		-15,676.78	1,199	13.07	13.07	10.06	1.30
4 Corners Unit 5	0.00		0.00	0	13.07	0.00	10.06	1.30
PV Unit 1	-29,425.39		-29,425.39	4,827	6.10	6.10	10.16	0.60
PV Unit 2	-29,425.39		-29,425.39	4,827	6.10	6.10	10.16	0.60
PV Unit 3	-29,431.49		-29,431.49	4,828	6.10	6.10	10.16	0.60

Newman 1	#NAME?		#NAME?	0	0.00	0.00		1.96
Newman 2	#NAME?		#NAME?	930	#NAME?	#NAME?		1.96
Newman 3	#NAME?		#NAME?	1,151	#NAME?	#NAME?		1.96
GT 1	#NAME?		#NAME?	120	#NAME?	#NAME?		1.96
GT 2	#NAME?		#NAME?	120	#NAME?	#NAME?		1.96
GT1+ST1	#NAME?		#NAME?	0	0.00	0.00		1.96
GT2+ST1	#NAME?		#NAME?	0	0.00	0.00		1.96
Newman 4	#NAME?		#NAME?	2,884	#NAME?	#NAME?		1.96
Copper	#NAME?		#NAME?	0	0.00	0.00		1.96
Rio Grande 6	#NAME?		#NAME?	0	0.00	0.00		2.09
Rio Grande 7	#NAME?		#NAME?	0	0.00	0.00		2.09
Rio Grande 8	#NAME?		#NAME?	0	0.00	0.00		2.09

Total	#N/A	0.00	#N/A

## spin_reserve_log_sheet
This log is where we should log any problems with the spin reserves.
If it falls below 100 we should log who we spoke to and if we tried to buy some power to cover it. Remember you have to buy firm power to cover spin reserve.

Date	Actual 4 minute increment that you checked	Name of person you spoke to	Comments ( include what spin was when you checked it)

7/03/2000	El Paso defiecent for He 7 due to loss of Artesia	Frank	Per Tony Soto imports are limited to a total of 335 Mw. Per this direction I
	tie.		sold off Palo Verde for He 8 to import net of 335Mw. Against my direction
			Frank directed me to cut the sale to 50Mw so he could import the energy.

18/03/2000	El Paso deficient for HE 11 due to the loss of	Jessie and Ward	Per Jessie at 1015 MST, I had to cut SRP from 50 MW to 25 MW for HE 11 at the half due to the
	GT-2.		loss of GT-1. He instructed me to buy 50 MW intigrated to 25 MW for the remainder
			of the HE 11. I baught from LADWP for 70$/MWh at PV. For HE 12, Jessie
			instructed me to buy another 50 MW. I baught 50 MW from PNM at 25$/MWh.

18/03/2000	El Paso deficient for HE 17 and 18 due to the	Jessie and Ward	Jessie called at 1720 MST and asked if we could buy as much power as possible
	loss of 4C#5.		from SPS because 4C#5 just tripped. Called SPS and bought 62 MW intigrated
			to 31 at the half for the remainder of the hour for 100$/MWh. We also bought for
			HE 18 62 MW at 38$/MWh.Phil at SPS called at
			1740 MST to tell us that the Eddy Tie just went down and he had to cut the schedule
28/04/2000	~23:25 just a minute of 40spin and 0 non spin. We were running tight, Phil told me to relax, it will average out OK, and our next hour was looking fine.	Brian	for the hour that we were in. They kept in the 62 MW for HE18.

23/07/2000	11:25 Only a couple of minutes of spin deficient due to Copper not being able to turn on	Monika and Joe	We discussed of turning Copper on to cover the load for that hour since nobody had anything to sell. Besides Copper was much cheaper than the prices to purchase energy. At the last minute I learned that Copper had trouble getting on and had to buy spin reserves from LADWP for that hour. This helped the spin get back on track

26/07/2000	HE12,14 couple minutes spin deficient	Leaf to Thomas	Had to buy within the hour 12 and 14 load is rising hot as pistols

26/07/2000	HE 16,17	Leaf to Thomas	Unit tripped

27/07/2000	HE 10 for about 15-20 minutes	Leaf to Thomas	Load jump, bought from APS @ 20 till 50MW int to a 17

27/07/2000	HE 11 last 20mins should average out to requirments		77 early in the hour 55 most the hour should be good for the hour

9/09/2000	HE 17 for 10-15 minutes	Leaf to Sal	Newman 4 went down bought from PNM,IID,and LADWP

9/09/2000	HE 18 part of the hour	Leaf to Tate	Bought from Pac 50MW on the 1/2 to cover the lack Gen guys didn't put the the buy in the scrape after repeated requests but Tate asured me that it would all work out buy the end of the hour.

10/09/2000	HE 9 10 after to a little after the half	Leaf to ?	Newman 3 not able to handle load shown in the scrape. Cut econ schedules to cover load.

10/09/2000	HE 10 for about 15 minutes	Leaf to ?	Newman 3 went down started copper to cover load.

4/10/2000	HE 19 for about 15 minutes	Leaf to Ward	Load jumped a bit and spin dipped to 30 came back up to 54 later in the hour bought from IID to avoid further mishaps.

9/11/2000	HE 7 last twenty minutes		We were good the first half of the hour then we started to slip. Since we were going to be fat in HE 8 I didn't want to cut the schedules

17/11/2000	HE 7	Guzman and Thomas	Could not close breaker on Copper, bought 50 mws from LDWP to cover at $225, naturally they got the breaker closed as we ramped into the next hour.

26/12/2000	HE18	Leaf	Load came up more than expected I didn't cut schedules because I thought that the spin in the first half of the hour would average out to the requirements. Unfortunately load kept jumping.

## Balancing
Balancing					Estimated Load
Palo Verde				Artesia				Four Corners					Load			Spin
Hour	Volume	Price	Position	Hour	Volume	Price	Position	Hour	Volume	Price	Position		Hour	Forecast	CFE	Sum	Reserves
1				1			0	1			0		1	593.89		593.8931801
2			0	2			0	2			0		2	574.58		574.5786559
3			0	3			0	3			0		3	564.03		564.0269268
4			0	4			0	4			0		4	562.63		562.625503
5			0	5			0	5			0		5	575.53		575.5320058
6			0	6			0	6			0		6	629.09		629.0902533
7			0	7			0	7			0		7	718.67		718.6739439
8			0	8			0	8			0		8	786.79		786.7930624
9				9			0	9			0		9	824.49		824.4855737
10				10			0	10			0		10	846.24		846.2423175
11				11			0	11			0		11	860.72		860.7178185
12				12			0	12			0		12	860.75		860.7488125
13				13			0	13			0		13	857.48		857.4795868
14				14			0	14			0		14	858.40		858.396616
15				15			0	15			0		15	852.08		852.0760918
16				16			0	16			0		16	839.57		839.5706157
17				17			0	17			0		17	817.92		817.9170138
18				18			0	18			0		18	801.87		801.8741685
19				19			0	19			0		19	851.81		851.8087862
20				20			0	20			0		20	878.84		878.8392086
21				21			0	21			0		21	854.48		854.4773212
22				22			0	22			0		22	801.46		801.4592567
23				23			0	23			0		23	721.08		721.0807479
24				24			0	24			0		24	645.29		645.2894466

Short	0		0	Short	0		0	Short	0		0
Long	0		0	Long	0		0	Long	0		0
Total	0		0	Total	0		0	Total	0		0

## Unit_Summary
	Start Up	Minimum Run	Minimum	Heat Rates	Heat Rates
Generation	Costs	Time (hrs)	Down Time	50%	100%
4 Corners Unit 4				10.0576	10.0576
4 Corners Unit 5				10.0576	10.0576
PV Unit 1				10.1600	10.1600
PV Unit 2				10.1600	10.1600
PV Unit 3				10.1600	10.1600
LOCAL GEN. ( in order of increasing cost)
Newman 4		8	8	10.5570	9.1680
GT1+ST1(only avail. when Newman 4 is off)	657	8	8	10.8870	9.2120
GT2+ST1(only avail. when Newman 4 is off)	657	8	8	10.8870	9.2120
Newman 3	562	40	40	10.4670	10.0880
Rio Grande 8	1822	24	36	10.2530	10.6910
Newman 2	554	40	40	11.1680	10.7840
Rio Grande 7	619	24	36	10.9480	11.0160
Newman 1	1070	40	40	12.4330	11.7670
Rio Grande 6	619	24	36	12.6990	12.2550
Copper	657	2	2	15.5627	12.7840
GT 1(only avail. when Newman 4 is off)	657	8	8	14.5280	12.9870
GT 2(only avail. when Newman 4 is off)	657	8	8	14.5280	12.9870

Counter Parties
65535	Begin
AEPCO
APS
LADWP
PAC
PNM
PSCO
SRP
SCE
SDGE
SPS
TEP
TNP	End

## HeatRate
	Newman1					Copper	Rio Grande
Operating	Newman 1	Newman 2	Newman 3	GT 1	GT 2	GT1+ST1	GT2+ST1	Newman 4	Copper	Rio Grande 6	Rio Grande 7	Rio Grande 8
MWh's	Steam Unit 1	Steam Unit 2	Steam Unit 3	Gas Turbine 1	Gas Turbine 2	GT1+ST1	GT2+ST1	GT1+GT2+ST1	Copper	Steam Unit 6	Steam Unit 7	Steam Unit 8
1	54.56	57.41	108.46	157.40	157.40	251.97	251.97	472.89	273.80	84.47	101.26	101.63
2	32.54	33.36	58.14	83.50	83.50	128.84	128.84	239.17	140.23	46.51	53.19	54.74
3	25.20	25.35	41.38	58.88	58.88	87.80	87.80	161.27	95.72	33.89	37.23	39.12
4	21.53	21.35	33.00	46.58	46.58	67.29	67.29	122.32	73.49	27.61	29.29	31.32
5	19.33	18.95	27.98	39.21	39.21	54.99	54.99	98.95	60.16	23.85	24.56	26.64
6	17.86	17.35	24.64	34.30	34.30	46.79	46.79	83.38	51.29	21.37	21.43	23.53
7	16.82	16.21	22.25	30.80	30.80	40.94	40.94	72.25	44.96	19.60	19.22	21.31
8	16.03	15.35	20.47	30.80	30.80	40.94	40.94	72.25	44.96	19.60	19.22	19.65
9	15.42	14.69	19.08	26.14	26.14	33.14	33.14	57.43	36.55	17.28	16.34	18.36
10	14.94	14.16	17.98	24.52	24.52	30.41	30.41	52.24	33.61	16.48	15.36	17.34
11	14.54	13.73	17.07	23.19	23.19	28.19	28.19	48.00	31.22	15.84	14.57	16.50
12	14.21	13.37	16.33	22.09	22.09	26.33	26.33	44.47	29.23	15.31	13.92	15.80
13	13.93	13.07	15.69	21.16	21.16	24.77	24.77	41.48	27.55	14.87	13.39	15.21
14	13.69	12.81	15.15	20.37	20.37	23.42	23.42	38.92	26.11	14.50	12.95	14.71
15	13.48	12.59	14.69	19.68	19.68	22.26	22.26	36.70	24.87	14.18	12.58	14.28
16	13.30	12.39	14.28	19.09	19.09	21.25	21.25	34.76	23.79	13.91	12.26	13.91
17	13.14	12.22	13.92	18.56	18.56	20.36	20.36	33.05	22.85	13.68	12.00	13.57
18	13.00	12.07	13.61	18.10	18.10	19.56	19.56	31.53	22.01	13.48	11.77	13.28
19	12.88	11.93	13.33	17.68	17.68	18.85	18.85	30.17	21.26	13.30	11.57	13.02
20	12.76	11.81	13.07	17.31	17.31	18.22	18.22	28.94	20.59	13.15	11.40	12.79
21	12.66	11.70	12.85	16.98	16.98	17.64	17.64	27.84	19.99	13.01	11.26	12.58
22	12.57	11.60	12.64	16.68	16.68	17.12	17.12	26.83	19.44	12.89	11.14	12.39
23	12.48	11.51	12.46	16.40	16.40	16.65	16.65	25.92	18.95	12.79	11.04	12.22
24	12.41	11.43	12.29	16.15	16.15	16.21	16.21	25.08	18.50	12.70	10.95	12.07
25	12.34	11.36	12.13	15.93	15.93	15.81	15.81	24.30	18.09	12.62	10.87	11.92
26	12.27	11.29	11.99	15.72	15.72	15.44	15.44	23.59	17.71	12.55	10.81	11.80
27	12.21	11.22	11.86	15.53	15.53	15.11	15.11	22.93	17.36	12.49	10.76	11.68
28	12.16	11.17	11.74	15.35	15.35	14.79	14.79	22.32	17.04	12.43	10.72	11.57
29	12.11	11.11	11.63	15.19	15.19	14.50	14.50	21.75	16.75	12.38	10.69	11.47
30	12.06	11.06	11.53	15.03	15.03	14.23	14.23	21.22	16.48	12.34	10.66	11.37
31	12.01	11.02	11.43	14.89	14.89	13.98	13.98	20.73	16.22	12.31	10.65	11.29
32	11.97	10.97	11.34	14.76	14.76	13.74	13.74	20.27	15.99	12.28	10.64	11.21
33	11.93	10.93	11.26	14.64	14.64	13.52	13.52	19.83	15.77	12.25	10.63	11.13
34	11.90	10.89	11.18	14.53	14.53	13.31	13.31	19.42	15.56	12.23	10.63	11.06
35	11.86	10.86	11.11	14.42	14.42	13.11	13.11	19.04	15.37	12.21	10.64	11.00
36	11.83	10.83	11.04	14.32	14.32	12.93	12.93	18.67	15.19	12.20	10.65	10.94
37	11.80	10.80	10.98	14.23	14.23	12.76	12.76	18.33	15.03	12.19	10.66	10.88
38	11.77	10.77	10.92	14.15	14.15	12.59	12.59	18.00	14.87	12.18	10.68	10.83
39	11.75	10.74	10.87	14.06	14.06	12.44	12.44	17.69	14.72	12.17	10.70	10.78
40	11.72	10.71	10.82	13.99	13.99	12.29	12.29	17.40	14.59	12.17	10.73	10.74
41	11.70	10.69	10.77	13.92	13.92	12.15	12.15	17.12	14.46	12.17	10.75	10.69
42	11.67	10.67	10.72	13.85	13.85	12.02	12.02	16.86	14.34	12.17	10.78	10.65
43	11.65	10.65	10.68	13.79	13.79	11.90	11.90	16.61	14.22	12.18	10.82	10.62
44	11.63	10.63	10.64	13.73	13.73	11.78	11.78	16.37	14.12	12.18	10.85	10.58
45	11.61	10.61	10.60	13.67	13.67	11.67	11.67	16.14	14.01	12.19	10.89	10.55
46	11.60	10.59	10.57	13.62	13.62	11.56	11.56	15.92	13.92	12.20	10.93	10.52
47	11.58	10.57	10.53	13.57	13.57	11.46	11.46	15.71	13.83	12.21	10.97	10.49
48	11.56	10.56	10.50	13.52	13.52	11.36	11.36	15.51	13.74	12.23	11.02	10.46
49	11.55	10.54	10.47	13.48	13.48	11.27	11.27	15.32	13.66			10.43
50	11.53	10.53	10.44	13.43	13.43	11.18	11.18	15.14	13.59			10.41
51	11.52	10.51	10.42	13.40	13.40	11.09	11.09	14.96	13.52			10.39
52	11.50	10.50	10.39	13.36	13.36	11.01	11.01	14.79	13.45			10.37
53	11.49	10.49	10.37	13.32	13.32	10.93	10.93	14.63	13.39			10.35
54	11.48	10.48	10.35	13.29	13.29	10.86	10.86	14.47	13.33			10.33
55	11.47	10.47	10.33	13.26	13.26	10.79	10.79	14.32	13.27			10.31
56	11.45	10.46	10.31	13.23	13.23	10.72	10.72	14.18	13.22			10.30
57	11.44	10.45	10.29	13.20	13.20	10.65	10.65	14.04	13.17			10.28
58	11.43	10.44	10.27	13.18	13.18	10.59	10.59	13.91	13.12			10.27
59	11.42	10.43	10.25	13.15	13.15	10.53	10.53	13.78	13.08			10.26
60	11.41	10.42	10.24	13.13	13.13	10.47	10.47	13.65	13.04			10.24
61	11.40	10.41	10.22	13.11	13.11	10.42	10.42	13.53	13.00			10.23
62	11.40	10.40	10.21	13.09	13.09	10.36	10.36	13.42	12.96			10.22
63	11.39	10.40	10.20	13.07	13.07	10.31	10.31	13.30	12.93			10.21
64	11.38	10.39	10.18	13.05	13.05	10.26	10.26	13.20	12.89			10.20
65	11.37	10.38	10.17	13.03	13.03	10.22	10.22	13.09	12.86			10.20
66	11.36	10.38	10.16	13.02	13.02	10.17	10.17	12.99	12.84			10.19
67	11.36	10.37	10.15	13.00	13.00	10.13	10.13	12.89	12.81			10.18
68	11.35	10.37	10.14	12.99	12.99	10.08	10.08	12.79	12.78			10.18
69	11.34	10.36	10.14			10.04	10.04	12.70				10.17
70	11.34	10.36	10.13			10.00	10.00	12.61				10.17
71	11.33	10.35	10.12			9.97	9.97	12.53				10.16
72	11.33	10.35	10.11			9.93	9.93	12.44				10.16
73	11.32	10.35	10.11			9.89	9.89	12.36				10.15
74	11.32	10.34	10.10			9.86	9.86	12.28				10.15
75	11.31	10.34	10.10			9.83	9.83	12.20				10.15
76	11.31	10.34	10.09			9.80	9.80	12.13				10.15
77	11.30	10.33	10.09			9.76	9.76	12.06				10.14
78	11.30	10.33	10.08			9.74	9.74	11.99				10.14
79	11.29	10.33	10.08			9.71	9.71	11.92				10.14
80	11.29	10.33	10.08			9.68	9.68	11.85				10.14
81	11.29	10.32	10.08			9.65	9.65	11.79				10.14
82	11.28	10.32	10.07			9.63	9.63	11.72				10.14
83			10.07			9.60	9.60	11.66				10.14
84			10.07			9.58	9.58	11.60				10.14
85			10.07			9.56	9.56	11.54				10.15
86			10.07			9.53	9.53	11.49				10.15
87			10.07			9.51	9.51	11.43				10.15
88			10.07			9.49	9.49	11.38				10.15
89			10.07			9.47	9.47	11.33				10.15
90			10.07			9.45	9.45	11.28				10.16
91			10.07			9.44	9.44	11.23				10.16
92			10.07			9.42	9.42	11.18				10.16
93			10.07			9.40	9.40	11.13				10.17
94			10.07			9.38	9.38	11.08				10.17
95			10.07			9.37	9.37	11.04				10.17
96			10.08			9.35	9.35	10.99				10.18
97			10.08			9.34	9.34	10.95				10.18
98			10.08			9.32	9.32	10.91				10.19
99			10.08			9.31	9.31	10.87				10.19
100			10.09			9.30	9.30	10.83				10.20
101			10.09			9.28	9.28	10.79				10.20
102			10.09			9.27	9.27	10.75				10.21
103			10.10			9.26	9.26	10.71				10.21
104					9.25	9.25	10.68				10.22
105					9.24	9.24	10.64				10.23
106					9.23	9.23	10.61				10.23
107					9.22	9.22	10.57				10.24
108					9.21	9.21	10.54				10.24
109					10.51				10.25
110					10.48				10.26
111					10.45				10.26
112					10.42				10.27
113					10.39				10.28
114					10.36				10.29
115					10.33				10.29
116					10.30				10.30
117					10.27				10.31
118					10.25				10.32
119					10.22				10.32
120					10.20				10.33
121					10.17				10.34
122					10.15				10.35
123					10.12				10.36
124					10.10				10.36
125					10.08				10.37
126					10.05				10.38
127					10.03				10.39
128					10.01				10.40
129					9.99				10.41
130					9.97				10.42
131					9.95				10.43
132					9.93				10.43
133					9.91				10.44
134					9.89				10.45
135					9.87				10.46
136					9.85				10.47
137					9.84				10.48
138					9.82				10.49
139					9.80				10.50
140					9.79				10.51
141					9.77				10.52
142					9.75				10.53
143					9.74				10.54
144					9.72				10.55
145					9.71				10.56
146					9.69				10.57
147					9.68				10.58
148					9.66				10.59
149					9.65				10.60
150					9.64				10.61
151					9.62
152					9.61
153					9.60
154					9.58
155					9.57
156					9.56
157					9.55
158					9.54
159					9.53
160					9.51
161					9.50
162					9.49
163					9.48
164					9.47
165					9.46
166					9.45
167					9.44
168					9.43
169					9.42
170					9.42
171					9.41
172					9.40
173					9.39
174					9.38
175					9.37
176					9.37
177					9.36
178					9.35
179					9.34
180					9.34
181					9.33
182					9.32
183					9.31
184					9.31
185					9.30
186					9.30
187					9.29
188					9.28
189					9.28
190					9.27
191					9.27
192					9.26
193					9.26
194					9.25
195					9.25
196					9.24
197					9.24
198					9.23
199					9.23
200					9.22
201					9.22
202					9.21
203					9.21
204					9.21
205					9.20
206					9.20
207					9.19
208					9.19
209					9.19
210					9.18
211					9.18
212					9.18
213					9.17
214					9.17
215					9.17

## Top
El Paso Spreadsheet

Start Date		25/03/1999
EndDate		25/03/1999

## EPEData
37377.89792
NEWMAN 1 ,UNAV, -0 , 75 , 39 , 83 , 0 ,1
NEWMAN 2 ,MANL, 35 , 70 , 34 , 83 , 0 ,1
NEWMAN 3 ,ECON, 38 ,100 , 35 ,103 , 40 ,1
NEWMN/GT1,AVAL, 0 , 60 , 18 , 60 , 0 ,1
NEWMN/GT2,AVAL, 0 , 60 , 18 , 60 , 0 ,1
NM/GT1+ST,UNAV, 0 ,100 , 61 ,107 , 0 ,1
NM/GT2+ST,UNAV, 0 ,100 , 66 ,107 , 0 ,1
NEWMAN 4 ,ECON,130 ,215 , 86 ,214 , 86 ,1
NEWMAN ,, 202 , 385, 155, 400 , 126 ,
COPPER ,AVAL, -0 , 69 , 15 , 69 , 0 ,1
RIOGRAN 6,AVAL, 0 , 47 , 29 , 48 , 0 ,1
RIOGRAN 7,AVAL, 0 , 38 , 32 , 49 , 0 ,1
RIOGRAN 8,UNAV, 0 ,121 , 36 ,151 , 0 ,1
RIOGRANDE,, 0 , 0, 0, 0 , 0 ,
PALOVERDE,MANL,604 ,600 ,600 ,600 , 0 ,1
FOURCRNRS,MANL, 52 , 52 , 52 ,104 , 0 ,1
LAMBDA, 19.79, 691, 690, 174, 1, 0, 9946,0
APS ,FIRM ,FC, , 25, 25
IID ,FIRM ,PV, , 84, 84
PGT ,LOSS ,LC, , -1, -2
PNM ,LOSS ,WM, , 3, 3
SPS ,FIRM ,ED, ,-100,-100
SRP ,FIRM ,PV, , 25, 25
SRP ,LOSS ,PV, , 4, 4
SRP ,LOSS ,PV, , 4, 4
TNP ,LOSS ,AM, , -2, -2
CISO ,FIRM ,PV, , 78, 0
TNP ,LOSS ,AM, , -2, -2
WAPA ,PASS ,WM,HO, -1, -1
37300.62986
NEWMAN 1 ,UNAV, -0 , 75 , 39 , 83 , 0 ,1
NEWMAN 2 ,MANL, 39 , 75 , 34 , 83 , 0 ,1
NEWMAN 3 ,ECON, 38 ,100 , 35 ,103 , 40 ,1
NEWMN/GT1,UNAV, 0 , 60 , 18 , 60 , 0 ,1
NEWMN/GT2,UNAV, 0 , 60 , 18 , 60 , 0 ,1
NM/GT1+ST,UNAV, 0 ,100 , 61 ,107 , 0 ,1
NM/GT2+ST,UNAV, 0 ,100 , 66 ,107 , 0 ,1
NEWMAN 4 ,ECON,174 ,215 , 86 ,214 , 41 ,1
NEWMAN ,, 251 , 390, 155, 400 , 81 ,
COPPER ,AVAL, -0 , 69 , 15 , 69 , 0 ,1
RIOGRAN 6,AVAL, 0 , 47 , 29 , 48 , 0 ,1
RIOGRAN 7,AVAL, 0 , 38 , 32 , 49 , 0 ,1
RIOGRAN 8,UNAV, 0 ,121 , 36 ,151 , 0 ,1
RIOGRANDE,, 0 , 0, 0, 0 , 0 ,
PALOVERDE,MANL,603 ,600 ,600 ,600 , 0 ,1
FOURCRNRS,MANL, 51 , 51 , 51 ,104 , 0 ,1
LAMBDA, 23.51, 798, 796, 80, -3, 0,11060,21
APS ,STRT ,FC, , 1, 1
IID ,EXCS ,FC, , 50, 50
IID ,FIRM ,PV, , 100, 100
LDWP ,ECON ,PV, , 80, 80
PGT ,LOSS ,PV, , -1, -1
PNM ,CNTG ,LC, , 11, 11
PNM ,LOSS ,LC, , 2, 2
SPS ,FIRM ,WM, ,-103,-103
SRP ,FIRM ,ED, , 25, 25
SRP ,LOSS ,PV, , 1, 1
TNP ,FIRM ,PV, , 25, 25
TNP ,LOSS ,PV, , -5, -5
WAPA ,PASS ,WM,HO, -1, -1